## Biochemical Analysis
Item Description | Category | Quantity | Unit | Capacity | Location | Remarks
Laboratory bottle | Glassware | 6 | pcs | 2000 mL
Laboratory bottle | Glassware | 6 | pcs | 1000 mL
Volumetric flask | Glassware | 5 | pcs | 1000 mL
Pipette | Pipettes | 2 | pcs | 2–200 µL
Pipette | Pipettes | 1 | pcs | 5–50 µL
Pipette | Pipettes | 1 | pcs | 0.5–10 µL
Pipette | Pipettes | 2 | pcs | 100–1000 µL
Pipette | Pipettes | 2 | pcs | 10–100 µL
Pipette | Pipettes | 1 | pcs | 2–20 µL
Measuring cylinder | Glassware | 1 | pcs | 1000 mL
Pipette stand | Accessories | 2 | pcs
Conical flask | Glassware | 5 | pcs | 2000 mL
Bottle | Glassware | 4 | pcs | 100 mL
Bottle | Glassware | 5 | pcs | 500 mL
Bottle | Glassware | 2 | pcs | 250 mL
Measuring cylinder | Glassware | 4 | pcs | 100 mL
Volumetric flask | Glassware | 2 | pcs | 100 mL
Volumetric flask | Glassware | 2 | pcs | 50 mL
Water bath shake | Equipment | 1 | pcs
Spectrophotometer | Equipment | 2 | pcs
Measuring cylinder | Glassware | 1 | pcs | 300 mL
Measuring cylinder | Glassware | 1 | pcs | 250 mL
Inoculating loop | Microbiology equipment | 1 | pcs
Wash brush | Cleaning materials | 6 | pcs
Vortex | Equipment | 1 | pcs
Blender | Equipment | 1 | pcs
Filter funnel | Glassware | 4 | pcs
Volumetric flask | Glassware | 2 | pcs | 10 mL
Orbital shaker | Equipment | 2 | pcs
Electronic balance | Equipment | 1 | pcs
Microscope | Equipment | 1 | pcs

## Microbio 2
Item Description | Category | Quantity | Unit | Capacity | Location | Remarks
Biobase Centrifuge | Equipment | 3 | pcs
Digital Centrifuge | Equipment | 1 | pcs
Microscope | Equipment | 1 | pcs
Incubator | Equipment | 1 | pcs
Vortex Mixer | Equipment | 1 | pcs
Refrigerated Centrifuge | Equipment | 1 | pcs
Filter | Equipment | 1 | pcs

## Preparation Lab
Item Description | Category | Quantity | Unit | Capacity | Location | Remarks
500 ml bottle | Glassware | 46 | pcs
1000 ml bottle | Glassware | 3 | pcs
25 ml bottle | Glassware | 15 | pcs
10-100 μl pipette | Pipettes | 1 | pcs
0.5-10 μl pipette | Pipettes | 1 | pcs
2-20 μl pipette | Pipettes | 1 | pcs
100 ml bottle | Glassware | 16 | pcs
50 ml bottle | Glassware | 8 | pcs
Tripod stand | Equipment | 3 | pcs
200 ml bottle | Glassware | 3 | pcs
Pipette pumps | Pipettes | 5 | pcs
2000 ml bottle | Glassware | 2 | pcs
250 ml bottle | Glassware | 1 | pcs
250 ml measuring cylinder | Glassware | 1 | pcs
1000 ml measuring cylinder | Glassware | 1 | pcs
1000 ml conical flask | Glassware | 3 | pcs
500 ml conical flask | Glassware | 4 | pcs
50 ml volumetric flask | Glassware | 1 | pcs
100 ml volumetric flask | Glassware | 3 | pcs
10 ml volumetric flask | Glassware | 3 | pcs
250 ml volumetric flask | Glassware | 1 | pcs
Ion / pH meter | Equipment | 1 | pcs
Magnetic stirrer | Equipment | 1 | pcs
Pipette stand | Equipment | 1 | pcs
Bunsen burner | Equipment | 3 | pcs
Wash brush | Cleaning material | 43 | pcs
Water distiller | Equipment | 1 | pcs
Test tube holder | Equipment | 1 | pcs

## Preparation Room
Item Description | Category | Quantity | Unit | Capacity | Location | Remarks
Methanol AR | Chemical | 2.5 | L
HCL 32% | Chemical | 5 | L
Glucose Powder | Chemical | 10 | box
Protective gowns | PPE | 2 | set
Hydrogen Peroxide (20 volume) | Chemical | 2.5 | L
Gallic acid | Chemical | 1 | bottle
Isolation gown | PPE | 1 | set
Phenol Reagent | Chemical | 500 | mL
Vanillin | Chemical | 1 | bottle
Acetone AR | Chemical | 2.5 | L
Chloroform | Chemical | 2.5 | L

## Microbiology Lab Equipment
Item Description | Category | Quantity | Unit | Capacity | Location | Remarks
Bunsen burners | Equipment | 3 | pcs
Tripod stand | Equipment | 3 | pcs
2000ml bottles | Glassware | 2 | pcs
250ml measuring cylinder | Glassware | 1 | pcs
Weighing balance | Equipment | 1 | pcs
Centrifuge | Equipment | 1 | pcs
Autoclave | Equipment | 1 | pcs

## Microbiology Lab
Item Description | Category | Quantity | Unit | Capacity | Location | Remarks
Multiscope Tissue | Consumable | 2 | roll
Disposable mask | PPE | 1 | box
Slides | Glassware | 4 | box
Formalin | Chemical | 5 | L
Ethanol | Chemical | 20 | L
Lysine Iron Agar | Media | 500 | g
Monkey Broth Purple | Media | 500 | g
Latex Gloves | PPE | 0 | box |  |  | Quantity unknown at source
Sabouraud Dextrose Agar | Media | 500 | g
Nutrient Agar | Media | 500 | g
Soyabean Casein Digest Medium | Media | 500 | g
Blood Agar No.2 | Media | 500 | g
Blood Agar Base (Infusion Agar) | Media | 500 | g
Parafin film | Consumable | 1 | roll
Biohazard box | Consumable | 7 | pcs
Giemsa stain solution | Stain | 500 | mL
Eosin stain solution | Stain | 1 | L
Petri Dishes | Plasticware | 918 | pcs
Cotton | Consumable | 1 | pack
Filter paper | Consumable | 0 | pcs |  |  | Quantity unknown at source